## Warehouse (Daily)
|  | GOOD HOUSEKEEPING CHECKLIST (WAREHOUSE) | [5 empty] | DOCUMENT NO: |  | FM-OPS-09.02
[8 empty] | EFFECTIVE DATE: |  | February 1, 2024
[8 empty] | REVISION NO: |  | 0
[8 empty] | DEPARTMENT: |  | Operations
[5 empty] | Month |  |  |  | Year
Date
NO. | AREA | ITEM | STANDARD |  | MON | TUE | WED | THUR | FRI | SAT | SUN
1 | WAREHOUSE | Racks/Pallets | 1. Racks & Pallets are clean
2 |  |  | 2. Correct storage & stacking conditions are observed; No overstocking
3 |  |  | 3. Storage racking are in good and safe condition
4 |  | Warehouse equipment | All equipment (forklifts, jack lifts, pallets, etc.) are clean and working
5 |  | PPE | All personnel wear protective clothing/equipment and footwear
6 |  | Signages & Compliance | 1. No personnel observed/with evidence of smoking, eating, drinking & spitting inside the WH area
7 |  |  | 2. “No Smoking, No Eating, No Drinking, No Spitting” signs are posted
8 |  | Lights | All lights in Storage areas have shatterproof diffusers or cover and adequate lighting is provided
9 |  | Receiving/ Loading areas | Receiving/Loading areas or docks are clean
10 |  | Doors & Plastic Curtains | Doors are aligned, no damage and always kept closed Strip or air curtains (If applicable) are used to prevent entry of pests if closing of doors is impractical
11 |  | Testing Equipment | All equipment/ temperature monitoring device used in warehouse/ storage are clean, functional, with no missing parts and functional.
12 |  | Ceiling | Free from dust and cobweb
13 |  | Floors | 1. Floors are clean, free from cracks, and open joints.
14 |  |  | 2. No unnecessary/personal things blocking the pathways
15 |  | Walls/Partitions/ Dividers | Walls & ceilings are clean, intact and have no leaks/ gaps/ cracks/ peel offs/ rust or flaking paints
16 |  | Safety and Security | 1. Fire Extinguisher is present and working. Locking pin is intact and the tamper seal is unbroken. No damage, corrosion, leakage, or clogged nozzle.
17 |  |  | 2. Emergency light is present and working.
18 |  |  | 3. Exit points are not obstructed
19 |  |  | 4. System in place to ensure restricted access to critical areas Security measures are in place
20 |  | Pest Control/Hygiene | 1. Storage areas are pest- and pets-free and free from possible pest harborage
21 |  |  | 2. Garbages are properly thrown in their designated trash bins
22 |  | Overall | Good housekeeping is observed at all times
REMARKS: |  |  |  | CLEANED BY:
VERIFIED BY: